## Sheet1
Line # | Description | Vendor | Part Number | QTY | Price | Total | Link
| 120VAC to 24VDC Transformer | NA | Salvaged | 1 | NA | 0 | NA
| 120VAC to 12VDC Power Supply | Allied | 70344660 | 1 | 38.52 | 38.52 | Link
| PLC | From LAB | NA | 1 | NA | 0 | NA
| 120 VAC Fuse (1.25x0.25) - 10A | Automation Direct | AGC10 | 1 | 2.25 | 2.25 | Link
| Valve Control Circuit | From Line | 560000372LON | 2 | NA | 0 | NA
| Circuit Stand Offs | Jameco | 106551 | 4 | 2.95 | 11.8 | Link
| E-Stop Button | Automation Direct | GCX3131 | 1 | 9.25 | 9.25 | Link
| Counter |  |  | 1 |  |  |  | Grand Total | 702.51
| DIN Rail | Automation Direct | DN-R15S1 | 1 | 26 | 26 | Link
| Enclosure |  |  | 1
| Subpannel |  |  | 1
| Start Button | Automation Direct | GCX3102 | 1 | 4.75 | 4.75 | Link
| Power Indicator | Automation Direct | ECX2054-127L | 1 | 8.5 | 8.5 | Link
| 120VAC to 5DC Power Supply | Allied | 70076062 | 1 | 44.88 | 44.88 | Link
| Conformal Coating Remover | Digi-Key | CW3500-ND | 1 | 22.92 | 22.92 | Link
| Fuse Terminal | Automation4Less | CAFL4U | 4 | 2.4 | 9.6 | Link
| Low Voltage DC Fuse (1.25x0.25) - 2A | Automation Direct | AGC2 | 3 | 2 | 6 | Link
| 24 VAC Fuse (1.25x0.25) - 5A | Automation Direct | ACG 2 | 2 | 2 | 4 | Link
| DIN Rail Fuse Blocks | Automation Direct | DN-F6MN | 1 | 20 | 20 | Link
| Grounded Terminal Block | Automation Direct | DN-G10-10 | 1 | 24.5 | 24.5 | Link
| Terminal Blocks (DIN) | Automation Direct | DN-M10-A | 1 | 58 | 58 | Link
| Terminal Block End Cover | Automation Direct | DN-ECM10 | 1 | 26 | 26 | Link
| Jumpers | Automation Direct | DN-24J4Y | 1 | 17 | 17 | Link
| Barbed Connectors | Cornelius | 620051650 | 20 | NA | 0 | NA
| Staineless Steel Tubing | Already Have | NA | 20Ft | NS | 0 | NA
| Swivel Castors | 8020 | 2708 | 4
| 18A Contactor (For Pump Motor) | C3 Controls | 300-S18N30D10 | 1 | 105 | 105 | Link
| Overload Relay (For Pump Motor) | C3 Controls | 320-B2U23 | 1 | 62 | 62 | Link
| Wire Duct | Automation Direct | T1-1010B-1 | 1 | 17 | 17 | Link
| 240VAC to 120VAC Transformer | Allied | 70239293 | 1 | 54.54 | 54.54 | Link
| 230 VAC Male Plug |  |  | 2
| 30A Fuse Pack | Automation Direct | MCL30 | 1 | 66 | 66 | Link
| 30A Fuse Mounts | Automation Direct | BM6032PQ | 1 | 64 | 64 | Link